This form was developed by FDOT using feedback from the utilities as a reference to assist with initial communication between applicants and utilities. Applicants are responsible for communicating and coordinately with the utility directly.

NEVI Station Utility Interconnection Information

| Requested Energize Date |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Applicant | Company Name |  |  |  |  |  |  |  |  |
|  | Contact Name, Address, email, phone |  |  |  |  |  |  |  |  |
| Site Host | Company Name |  |  |  |  |  |  |  |  |
| Site Address | Street, City, State, ZIP |  |  |  |  |  |  |  |  |
|  | Coordinates | Latitude |  |  |  | Longitude |  |  |  |
|  | Parcel ID |  |  |  |  |  |  |  |  |
| Connected Load (kW) |  | 650 kW for NEVI compliant site with 92% charger efficiency Include loads for any buildings, lighting, etc. on the same meter |  |  |  |  |  |  |  |
| Requested Service (Voltage) |  | 480V 3PH Typical |  |  |  |  |  |  |  |
| Requested Panel Size (Amps) |  | 1000A Typical |  |  |  |  |  |  |  |
| Power Factor (%) |  | 95% Typical for DCFC |  |  |  |  |  |  |  |
| Load Profile | Time of Day | 12AM | 3AM | 6AM | 9AM | 12PM | 3PM | 6PM | 9PM |
|  | Peak Load (kW) |  |  |  |  |  |  |  |  |
| Estimated Monthly Energy (kWh) |  |  |  |  |  |  |  |  |  |
| Will the EVSE load be added to an existing meter, or will a new account be requested? |  | If existing account, provide account number |  |  |  |  |  |  |  |
| Will solar panels and/or a battery energy storage system be installed to reduce or manage peak demand? |  | If planned, please provide details (power rating, energy rating, etc.) |  |  |  |  |  |  |  |
| EVSE Site Plan |  | Scale site drawing or aerial view of the site showing: - Nearest street(s) - Location of existing transformer and meter - Proposed location of new transformer - Proposed location(s) of EVSE |  |  |  |  |  |  |  |

*Italics text should be replaced with the specific details of the site